# README - Flow-Phantom-based Performance Testing Platform for Fingertip Pulse Oximeters

- Summary

This MATLAB-based code was developed to control the gear pump in the flow-phantom-based pulse oximeter testing platform. The code enables programmable pump operation, including continuous and pulsatile flow generation, by controlling parameters such as flow rate, pulse duration, and operation cycles. It supports repeatable flow conditions for benchtop evaluation of pulse oximeter performance.

- Software requirements

- MATLAB® (R2025b)

- MATLAB Data Acquisition Toolbox

- Manufacturer-NI MAX (To perform continuous flow run)

- Hardware requirements

- Gear pump (Model: mzr-7205, HNP Mikrosysteme )

- Communication interface between computer and pump (DAQ hardware)

- Other instructions

Ensure successful communication between MATLAB and the gear pump by verifying compatibility among the MATLAB version, Data Acquisition Toolbox, and DAQ.

- Identification of authors

- Code developed by Masoud Farahmand

- Documentation prepared by Josh Pfefer, Sandhya Vasudevan, and Chi-Hua Lee

- References to accompanying publications

Chi-Hua Lee, Md. Sadique Hasan, Ardy Wong, Anant Bhusal, William C. Vogt, Christopher G. Scully, Sandy Weininger, T. Joshua Pfefer, and Sandhya Vasudevan Flow-phantom Performance Testing Platform for Pulse Oximetry, IEEE TBME Submitted

- FDA Software Disclaimer

This software and documentation (the "Software") were developed at the Food and Drug Administration (FDA) by employees of the Federal Government in the course of their official duties. Pursuant to Title 17, Section 105 of the United States Code, this work is not subject to copyright protection and is in the public domain. Permission is hereby granted, free of charge, to any person obtaining a copy of the Software, to deal in the Software without restriction, including without limitation the rights to use, copy, modify, merge, publish, distribute, sublicense, or sell copies of the Software or derivatives, and to permit persons to whom the Software is furnished to do so. FDA assumes no responsibility whatsoever for use by other parties of the Software, its source code, documentation or compiled executables, and makes no guarantees, expressed or implied, about its quality, reliability, or any other characteristic. Further, use of this code in no way implies endorsement by the FDA or confers any advantage in regulatory decisions. Although this software can be redistributed and/or modified freely, we ask that any derivative works bear some notice that they are derived from it, and any modified versions bear some notice that they have been modified.

- HHS commercial products disclaimer (if mentioning commercial products)

The mention of commercial products, their sources, or their use in connection with material reported herein is not to be construed as either an actual or implied endorsement of such products by the Department of Health and Human Services.