# README - Flow-Phantom-based Performance Testing Platform for Fingertip Pulse Oximeters

- Summary

This software package contains 3D model files (STL format) used for fabrication of the finger-mimicking phantom and embedded U-shaped vessel-mimicking channel for the flow-phantom-based pulse oximeter performance testing platform.

The STL files include:

- A custom finger phantom mold used to fabricate the silicone tissue phantom.

- A U-shaped vessel-mimicking channel file used to create the embedded blood vessel pathway within the phantom.

These models are intended to support reproducible fabrication of the phantom components used for benchtop evaluation of fingertip pulse oximeter performance.

- Software requirements 
The STL files can be viewed, modified, or prepared for fabrication using 3D modeling software, such as:

- CAD software capable of importing STL files

- 3D printing software (E.g. Solidworks)

- Identification of authors

- STL files developed by:  Bryan Ibarra and Anant Bhusal

- Documentation prepared by: Josh Pfefer, Sandhya Vasudevan, and Chi-Hua Lee

- References to accompanying publication

Bhusal et al., "Development and characterization of silicone-based tissue phantoms for pulse oximeter performance testing," J Biomed Opt, vol. 29, no. Suppl 3, p. S33314, Jun 2024, doi: 10.1117/1.JBO.29.S3.S33314.

- FDA Software Disclaimer

This software and documentation (the "Software") were developed at the Food and Drug Administration (FDA) by employees of the Federal Government in the course of their official duties. Pursuant to Title 17, Section 105 of the United States Code, this work is not subject to copyright protection and is in the public domain. Permission is hereby granted, free of charge, to any person obtaining a copy of the Software, to deal in the Software without restriction, including without limitation the rights to use, copy, modify, merge, publish, distribute, sublicense, or sell copies of the Software or derivatives, and to permit persons to whom the Software is furnished to do so. FDA assumes no responsibility whatsoever for use by other parties of the Software, its source code, documentation or compiled executables, and makes no guarantees, expressed or implied, about its quality, reliability, or any other characteristic. Further, use of this code in no way implies endorsement by the FDA or confers any advantage in regulatory decisions. Although this software can be redistributed and/or modified freely, we ask that any derivative works bear some notice that they are derived from it, and any modified versions bear some notice that they have been modified.

- HHS commercial products disclaimer (if mentioning commercial products)

The mention of commercial products, their sources, or their use in connection with material reported herein is not to be construed as either an actual or implied endorsement of such products by the Department of Health and Human Services.